## PI Tag List
Plant | Unit/System | Source Tagname | Source Tag | Proposed New Tagname | Canary Tag Path | Description | eng_units | Date Added | Data Tag Naming for Checking (Remarks)
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.FT.Flow_Rate | CF_DBNPAN7320_DPA_FT | DBNPAN7320_DPA_Flow_Rate | Canary\ChemFlow\DBNPAN7320\DPA\Flow_Rate (Canary.Analog) | DBNPA N7320 — Dosing Pump A Flow rate | L/min | 2025-03-01 | Verify flow transmitter tag — check EU = L/min
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.PT.Discharge_Pressure | CF_DBNPAN7320_DPA_PT | DBNPAN7320_DPA_Discharge_Pressure | Canary\ChemFlow\DBNPAN7320\DPA\Discharge_Pressure (Canary.Analog) | DBNPA N7320 — Dosing Pump A Discharge pressure | bar | 2025-03-01 | Confirm pressure transmitter range and EU = bar
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.PS.Suction_Pressure | CF_DBNPAN7320_DPA_PS | DBNPAN7320_DPA_Suction_Pressure | Canary\ChemFlow\DBNPAN7320\DPA\Suction_Pressure (Canary.Analog) | DBNPA N7320 — Dosing Pump A Suction pressure | bar | 2025-03-01 | Confirm suction PT range and EU = bar
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.AI.Motor_Current | CF_DBNPAN7320_DPA_AI | DBNPAN7320_DPA_Motor_Current | Canary\ChemFlow\DBNPAN7320\DPA\Motor_Current (Canary.Analog) | DBNPA N7320 — Dosing Pump A Motor current draw | A | 2025-03-01 | Analog input from VFD — check EU = A
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.SS.Stroke_Speed | CF_DBNPAN7320_DPA_SS | DBNPAN7320_DPA_Stroke_Speed | Canary\ChemFlow\DBNPAN7320\DPA\Stroke_Speed (Canary.Analog) | DBNPA N7320 — Dosing Pump A Stroke speed | spm | 2025-03-01 | SPM signal from pump controller — check EU = spm
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.DS.Run_Status | CF_DBNPAN7320_DPA_DS | DBNPAN7320_DPA_Run_Status | Canary\ChemFlow\DBNPAN7320\DPA\Run_Status (Canary.Digital) | DBNPA N7320 — Dosing Pump A Run/stop status |  | 2025-03-01 | Digital tag — confirm ON/OFF state values
DBNPA N7320 | Dosing Pump A | DBNPAN7320.DPA.FS.Fault_Status | CF_DBNPAN7320_DPA_FS | DBNPAN7320_DPA_Fault_Status | Canary\ChemFlow\DBNPAN7320\DPA\Fault_Status (Canary.Digital) | DBNPA N7320 — Dosing Pump A Fault status |  | 2025-03-01 | Digital tag — confirm FAULT/NORMAL state values
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.FT.Flow_Rate | CF_DBNPAN7320_DPB_FT | DBNPAN7320_DPB_Flow_Rate | Canary\ChemFlow\DBNPAN7320\DPB\Flow_Rate (Canary.Analog) | DBNPA N7320 — Dosing Pump B Flow rate | L/min | 2025-03-02 | Verify flow transmitter tag — check EU = L/min
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.PT.Discharge_Pressure | CF_DBNPAN7320_DPB_PT | DBNPAN7320_DPB_Discharge_Pressure | Canary\ChemFlow\DBNPAN7320\DPB\Discharge_Pressure (Canary.Analog) | DBNPA N7320 — Dosing Pump B Discharge pressure | bar | 2025-03-02 | Confirm pressure transmitter range and EU = bar
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.PS.Suction_Pressure | CF_DBNPAN7320_DPB_PS | DBNPAN7320_DPB_Suction_Pressure | Canary\ChemFlow\DBNPAN7320\DPB\Suction_Pressure (Canary.Analog) | DBNPA N7320 — Dosing Pump B Suction pressure | bar | 2025-03-02 | Confirm suction PT range and EU = bar
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.AI.Motor_Current | CF_DBNPAN7320_DPB_AI | DBNPAN7320_DPB_Motor_Current | Canary\ChemFlow\DBNPAN7320\DPB\Motor_Current (Canary.Analog) | DBNPA N7320 — Dosing Pump B Motor current draw | A | 2025-03-02 | Analog input from VFD — check EU = A
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.SS.Stroke_Speed | CF_DBNPAN7320_DPB_SS | DBNPAN7320_DPB_Stroke_Speed | Canary\ChemFlow\DBNPAN7320\DPB\Stroke_Speed (Canary.Analog) | DBNPA N7320 — Dosing Pump B Stroke speed | spm | 2025-03-02 | SPM signal from pump controller — check EU = spm
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.DS.Run_Status | CF_DBNPAN7320_DPB_DS | DBNPAN7320_DPB_Run_Status | Canary\ChemFlow\DBNPAN7320\DPB\Run_Status (Canary.Digital) | DBNPA N7320 — Dosing Pump B Run/stop status |  | 2025-03-02 | Digital tag — confirm ON/OFF state values
DBNPA N7320 | Dosing Pump B | DBNPAN7320.DPB.FS.Fault_Status | CF_DBNPAN7320_DPB_FS | DBNPAN7320_DPB_Fault_Status | Canary\ChemFlow\DBNPAN7320\DPB\Fault_Status (Canary.Digital) | DBNPA N7320 — Dosing Pump B Fault status |  | 2025-03-02 | Digital tag — confirm FAULT/NORMAL state values
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.FT.Flow_Rate | CF_DBNPAN7320_MXT01_FT | DBNPAN7320_MXT01_Flow_Rate | Canary\ChemFlow\DBNPAN7320\MXT01\Flow_Rate (Canary.Analog) | DBNPA N7320 — Mix Tank 01 Flow rate | L/min | 2025-03-03 | Verify flow transmitter tag — check EU = L/min
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.PT.Discharge_Pressure | CF_DBNPAN7320_MXT01_PT | DBNPAN7320_MXT01_Discharge_Pressure | Canary\ChemFlow\DBNPAN7320\MXT01\Discharge_Pressure (Canary.Analog) | DBNPA N7320 — Mix Tank 01 Discharge pressure | bar | 2025-03-03 | Confirm pressure transmitter range and EU = bar
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.PS.Suction_Pressure | CF_DBNPAN7320_MXT01_PS | DBNPAN7320_MXT01_Suction_Pressure | Canary\ChemFlow\DBNPAN7320\MXT01\Suction_Pressure (Canary.Analog) | DBNPA N7320 — Mix Tank 01 Suction pressure | bar | 2025-03-03 | Confirm suction PT range and EU = bar
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.AI.Motor_Current | CF_DBNPAN7320_MXT01_AI | DBNPAN7320_MXT01_Motor_Current | Canary\ChemFlow\DBNPAN7320\MXT01\Motor_Current (Canary.Analog) | DBNPA N7320 — Mix Tank 01 Motor current draw | A | 2025-03-03 | Analog input from VFD — check EU = A
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.SS.Stroke_Speed | CF_DBNPAN7320_MXT01_SS | DBNPAN7320_MXT01_Stroke_Speed | Canary\ChemFlow\DBNPAN7320\MXT01\Stroke_Speed (Canary.Analog) | DBNPA N7320 — Mix Tank 01 Stroke speed | spm | 2025-03-03 | SPM signal from pump controller — check EU = spm
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.DS.Run_Status | CF_DBNPAN7320_MXT01_DS | DBNPAN7320_MXT01_Run_Status | Canary\ChemFlow\DBNPAN7320\MXT01\Run_Status (Canary.Digital) | DBNPA N7320 — Mix Tank 01 Run/stop status |  | 2025-03-03 | Digital tag — confirm ON/OFF state values
DBNPA N7320 | Mix Tank 01 | DBNPAN7320.MXT01.FS.Fault_Status | CF_DBNPAN7320_MXT01_FS | DBNPAN7320_MXT01_Fault_Status | Canary\ChemFlow\DBNPAN7320\MXT01\Fault_Status (Canary.Digital) | DBNPA N7320 — Mix Tank 01 Fault status |  | 2025-03-03 | Digital tag — confirm FAULT/NORMAL state values
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.FT.Flow_Rate | CF_DBNPAN7320_MXT02_FT | DBNPAN7320_MXT02_Flow_Rate | Canary\ChemFlow\DBNPAN7320\MXT02\Flow_Rate (Canary.Analog) | DBNPA N7320 — Mix Tank 02 Flow rate | L/min | 2025-03-04 | Verify flow transmitter tag — check EU = L/min
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.PT.Discharge_Pressure | CF_DBNPAN7320_MXT02_PT | DBNPAN7320_MXT02_Discharge_Pressure | Canary\ChemFlow\DBNPAN7320\MXT02\Discharge_Pressure (Canary.Analog) | DBNPA N7320 — Mix Tank 02 Discharge pressure | bar | 2025-03-04 | Confirm pressure transmitter range and EU = bar
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.PS.Suction_Pressure | CF_DBNPAN7320_MXT02_PS | DBNPAN7320_MXT02_Suction_Pressure | Canary\ChemFlow\DBNPAN7320\MXT02\Suction_Pressure (Canary.Analog) | DBNPA N7320 — Mix Tank 02 Suction pressure | bar | 2025-03-04 | Confirm suction PT range and EU = bar
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.AI.Motor_Current | CF_DBNPAN7320_MXT02_AI | DBNPAN7320_MXT02_Motor_Current | Canary\ChemFlow\DBNPAN7320\MXT02\Motor_Current (Canary.Analog) | DBNPA N7320 — Mix Tank 02 Motor current draw | A | 2025-03-04 | Analog input from VFD — check EU = A
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.SS.Stroke_Speed | CF_DBNPAN7320_MXT02_SS | DBNPAN7320_MXT02_Stroke_Speed | Canary\ChemFlow\DBNPAN7320\MXT02\Stroke_Speed (Canary.Analog) | DBNPA N7320 — Mix Tank 02 Stroke speed | spm | 2025-03-04 | SPM signal from pump controller — check EU = spm
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.DS.Run_Status | CF_DBNPAN7320_MXT02_DS | DBNPAN7320_MXT02_Run_Status | Canary\ChemFlow\DBNPAN7320\MXT02\Run_Status (Canary.Digital) | DBNPA N7320 — Mix Tank 02 Run/stop status |  | 2025-03-04 | Digital tag — confirm ON/OFF state values
DBNPA N7320 | Mix Tank 02 | DBNPAN7320.MXT02.FS.Fault_Status | CF_DBNPAN7320_MXT02_FS | DBNPAN7320_MXT02_Fault_Status | Canary\ChemFlow\DBNPAN7320\MXT02\Fault_Status (Canary.Digital) | DBNPA N7320 — Mix Tank 02 Fault status |  | 2025-03-04 | Digital tag — confirm FAULT/NORMAL state values
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.FT.Flow_Rate | CF_GlutaraldehydeG2500_INJ1_FT | GlutaraldehydeG2500_INJ1_Flow_Rate | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Flow_Rate (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 1 Flow rate | L/min | 2025-03-05 | Verify flow transmitter tag — check EU = L/min
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.PT.Discharge_Pressure | CF_GlutaraldehydeG2500_INJ1_PT | GlutaraldehydeG2500_INJ1_Discharge_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Discharge_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 1 Discharge pressure | bar | 2025-03-05 | Confirm pressure transmitter range and EU = bar
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.PS.Suction_Pressure | CF_GlutaraldehydeG2500_INJ1_PS | GlutaraldehydeG2500_INJ1_Suction_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Suction_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 1 Suction pressure | bar | 2025-03-05 | Confirm suction PT range and EU = bar
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.AI.Motor_Current | CF_GlutaraldehydeG2500_INJ1_AI | GlutaraldehydeG2500_INJ1_Motor_Current | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Motor_Current (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 1 Motor current draw | A | 2025-03-05 | Analog input from VFD — check EU = A
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.SS.Stroke_Speed | CF_GlutaraldehydeG2500_INJ1_SS | GlutaraldehydeG2500_INJ1_Stroke_Speed | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Stroke_Speed (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 1 Stroke speed | spm | 2025-03-05 | SPM signal from pump controller — check EU = spm
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.DS.Run_Status | CF_GlutaraldehydeG2500_INJ1_DS | GlutaraldehydeG2500_INJ1_Run_Status | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Run_Status (Canary.Digital) | Glutaraldehyde G2500 — Injection Skid 1 Run/stop status |  | 2025-03-05 | Digital tag — confirm ON/OFF state values
Glutaraldehyde G2500 | Injection Skid 1 | GlutaraldehydeG2500.INJ1.FS.Fault_Status | CF_GlutaraldehydeG2500_INJ1_FS | GlutaraldehydeG2500_INJ1_Fault_Status | Canary\ChemFlow\GlutaraldehydeG2500\INJ1\Fault_Status (Canary.Digital) | Glutaraldehyde G2500 — Injection Skid 1 Fault status |  | 2025-03-05 | Digital tag — confirm FAULT/NORMAL state values
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.FT.Flow_Rate | CF_GlutaraldehydeG2500_INJ2_FT | GlutaraldehydeG2500_INJ2_Flow_Rate | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Flow_Rate (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 2 Flow rate | L/min | 2025-03-06 | Verify flow transmitter tag — check EU = L/min
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.PT.Discharge_Pressure | CF_GlutaraldehydeG2500_INJ2_PT | GlutaraldehydeG2500_INJ2_Discharge_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Discharge_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 2 Discharge pressure | bar | 2025-03-06 | Confirm pressure transmitter range and EU = bar
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.PS.Suction_Pressure | CF_GlutaraldehydeG2500_INJ2_PS | GlutaraldehydeG2500_INJ2_Suction_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Suction_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 2 Suction pressure | bar | 2025-03-06 | Confirm suction PT range and EU = bar
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.AI.Motor_Current | CF_GlutaraldehydeG2500_INJ2_AI | GlutaraldehydeG2500_INJ2_Motor_Current | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Motor_Current (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 2 Motor current draw | A | 2025-03-06 | Analog input from VFD — check EU = A
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.SS.Stroke_Speed | CF_GlutaraldehydeG2500_INJ2_SS | GlutaraldehydeG2500_INJ2_Stroke_Speed | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Stroke_Speed (Canary.Analog) | Glutaraldehyde G2500 — Injection Skid 2 Stroke speed | spm | 2025-03-06 | SPM signal from pump controller — check EU = spm
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.DS.Run_Status | CF_GlutaraldehydeG2500_INJ2_DS | GlutaraldehydeG2500_INJ2_Run_Status | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Run_Status (Canary.Digital) | Glutaraldehyde G2500 — Injection Skid 2 Run/stop status |  | 2025-03-06 | Digital tag — confirm ON/OFF state values
Glutaraldehyde G2500 | Injection Skid 2 | GlutaraldehydeG2500.INJ2.FS.Fault_Status | CF_GlutaraldehydeG2500_INJ2_FS | GlutaraldehydeG2500_INJ2_Fault_Status | Canary\ChemFlow\GlutaraldehydeG2500\INJ2\Fault_Status (Canary.Digital) | Glutaraldehyde G2500 — Injection Skid 2 Fault status |  | 2025-03-06 | Digital tag — confirm FAULT/NORMAL state values
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.FT.Flow_Rate | CF_GlutaraldehydeG2500_STK_FT | GlutaraldehydeG2500_STK_Flow_Rate | Canary\ChemFlow\GlutaraldehydeG2500\STK\Flow_Rate (Canary.Analog) | Glutaraldehyde G2500 — Storage Tank Flow rate | L/min | 2025-03-07 | Verify flow transmitter tag — check EU = L/min
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.PT.Discharge_Pressure | CF_GlutaraldehydeG2500_STK_PT | GlutaraldehydeG2500_STK_Discharge_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\STK\Discharge_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Storage Tank Discharge pressure | bar | 2025-03-07 | Confirm pressure transmitter range and EU = bar
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.PS.Suction_Pressure | CF_GlutaraldehydeG2500_STK_PS | GlutaraldehydeG2500_STK_Suction_Pressure | Canary\ChemFlow\GlutaraldehydeG2500\STK\Suction_Pressure (Canary.Analog) | Glutaraldehyde G2500 — Storage Tank Suction pressure | bar | 2025-03-07 | Confirm suction PT range and EU = bar
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.AI.Motor_Current | CF_GlutaraldehydeG2500_STK_AI | GlutaraldehydeG2500_STK_Motor_Current | Canary\ChemFlow\GlutaraldehydeG2500\STK\Motor_Current (Canary.Analog) | Glutaraldehyde G2500 — Storage Tank Motor current draw | A | 2025-03-07 | Analog input from VFD — check EU = A
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.SS.Stroke_Speed | CF_GlutaraldehydeG2500_STK_SS | GlutaraldehydeG2500_STK_Stroke_Speed | Canary\ChemFlow\GlutaraldehydeG2500\STK\Stroke_Speed (Canary.Analog) | Glutaraldehyde G2500 — Storage Tank Stroke speed | spm | 2025-03-07 | SPM signal from pump controller — check EU = spm
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.DS.Run_Status | CF_GlutaraldehydeG2500_STK_DS | GlutaraldehydeG2500_STK_Run_Status | Canary\ChemFlow\GlutaraldehydeG2500\STK\Run_Status (Canary.Digital) | Glutaraldehyde G2500 — Storage Tank Run/stop status |  | 2025-03-07 | Digital tag — confirm ON/OFF state values
Glutaraldehyde G2500 | Storage Tank | GlutaraldehydeG2500.STK.FS.Fault_Status | CF_GlutaraldehydeG2500_STK_FS | GlutaraldehydeG2500_STK_Fault_Status | Canary\ChemFlow\GlutaraldehydeG2500\STK\Fault_Status (Canary.Digital) | Glutaraldehyde G2500 — Storage Tank Fault status |  | 2025-03-07 | Digital tag — confirm FAULT/NORMAL state values
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.FT.Flow_Rate | CF_BiocideBTC885_FP01_FT | BiocideBTC885_FP01_Flow_Rate | Canary\ChemFlow\BiocideBTC885\FP01\Flow_Rate (Canary.Analog) | Biocide BTC 885 — Feed Pump 01 Flow rate | L/min | 2025-03-08 | Verify flow transmitter tag — check EU = L/min
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.PT.Discharge_Pressure | CF_BiocideBTC885_FP01_PT | BiocideBTC885_FP01_Discharge_Pressure | Canary\ChemFlow\BiocideBTC885\FP01\Discharge_Pressure (Canary.Analog) | Biocide BTC 885 — Feed Pump 01 Discharge pressure | bar | 2025-03-08 | Confirm pressure transmitter range and EU = bar
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.PS.Suction_Pressure | CF_BiocideBTC885_FP01_PS | BiocideBTC885_FP01_Suction_Pressure | Canary\ChemFlow\BiocideBTC885\FP01\Suction_Pressure (Canary.Analog) | Biocide BTC 885 — Feed Pump 01 Suction pressure | bar | 2025-03-08 | Confirm suction PT range and EU = bar
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.AI.Motor_Current | CF_BiocideBTC885_FP01_AI | BiocideBTC885_FP01_Motor_Current | Canary\ChemFlow\BiocideBTC885\FP01\Motor_Current (Canary.Analog) | Biocide BTC 885 — Feed Pump 01 Motor current draw | A | 2025-03-08 | Analog input from VFD — check EU = A
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.SS.Stroke_Speed | CF_BiocideBTC885_FP01_SS | BiocideBTC885_FP01_Stroke_Speed | Canary\ChemFlow\BiocideBTC885\FP01\Stroke_Speed (Canary.Analog) | Biocide BTC 885 — Feed Pump 01 Stroke speed | spm | 2025-03-08 | SPM signal from pump controller — check EU = spm
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.DS.Run_Status | CF_BiocideBTC885_FP01_DS | BiocideBTC885_FP01_Run_Status | Canary\ChemFlow\BiocideBTC885\FP01\Run_Status (Canary.Digital) | Biocide BTC 885 — Feed Pump 01 Run/stop status |  | 2025-03-08 | Digital tag — confirm ON/OFF state values
Biocide BTC 885 | Feed Pump 01 | BiocideBTC885.FP01.FS.Fault_Status | CF_BiocideBTC885_FP01_FS | BiocideBTC885_FP01_Fault_Status | Canary\ChemFlow\BiocideBTC885\FP01\Fault_Status (Canary.Digital) | Biocide BTC 885 — Feed Pump 01 Fault status |  | 2025-03-08 | Digital tag — confirm FAULT/NORMAL state values
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.FT.Flow_Rate | CF_BiocideBTC885_FP02_FT | BiocideBTC885_FP02_Flow_Rate | Canary\ChemFlow\BiocideBTC885\FP02\Flow_Rate (Canary.Analog) | Biocide BTC 885 — Feed Pump 02 Flow rate | L/min | 2025-03-09 | Verify flow transmitter tag — check EU = L/min
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.PT.Discharge_Pressure | CF_BiocideBTC885_FP02_PT | BiocideBTC885_FP02_Discharge_Pressure | Canary\ChemFlow\BiocideBTC885\FP02\Discharge_Pressure (Canary.Analog) | Biocide BTC 885 — Feed Pump 02 Discharge pressure | bar | 2025-03-09 | Confirm pressure transmitter range and EU = bar
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.PS.Suction_Pressure | CF_BiocideBTC885_FP02_PS | BiocideBTC885_FP02_Suction_Pressure | Canary\ChemFlow\BiocideBTC885\FP02\Suction_Pressure (Canary.Analog) | Biocide BTC 885 — Feed Pump 02 Suction pressure | bar | 2025-03-09 | Confirm suction PT range and EU = bar
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.AI.Motor_Current | CF_BiocideBTC885_FP02_AI | BiocideBTC885_FP02_Motor_Current | Canary\ChemFlow\BiocideBTC885\FP02\Motor_Current (Canary.Analog) | Biocide BTC 885 — Feed Pump 02 Motor current draw | A | 2025-03-09 | Analog input from VFD — check EU = A
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.SS.Stroke_Speed | CF_BiocideBTC885_FP02_SS | BiocideBTC885_FP02_Stroke_Speed | Canary\ChemFlow\BiocideBTC885\FP02\Stroke_Speed (Canary.Analog) | Biocide BTC 885 — Feed Pump 02 Stroke speed | spm | 2025-03-09 | SPM signal from pump controller — check EU = spm
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.DS.Run_Status | CF_BiocideBTC885_FP02_DS | BiocideBTC885_FP02_Run_Status | Canary\ChemFlow\BiocideBTC885\FP02\Run_Status (Canary.Digital) | Biocide BTC 885 — Feed Pump 02 Run/stop status |  | 2025-03-09 | Digital tag — confirm ON/OFF state values
Biocide BTC 885 | Feed Pump 02 | BiocideBTC885.FP02.FS.Fault_Status | CF_BiocideBTC885_FP02_FS | BiocideBTC885_FP02_Fault_Status | Canary\ChemFlow\BiocideBTC885\FP02\Fault_Status (Canary.Digital) | Biocide BTC 885 — Feed Pump 02 Fault status |  | 2025-03-09 | Digital tag — confirm FAULT/NORMAL state values
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.FT.Flow_Rate | CF_BiocideBTC885_DYTK_FT | BiocideBTC885_DYTK_Flow_Rate | Canary\ChemFlow\BiocideBTC885\DYTK\Flow_Rate (Canary.Analog) | Biocide BTC 885 — Day Tank Flow rate | L/min | 2025-03-10 | Verify flow transmitter tag — check EU = L/min
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.PT.Discharge_Pressure | CF_BiocideBTC885_DYTK_PT | BiocideBTC885_DYTK_Discharge_Pressure | Canary\ChemFlow\BiocideBTC885\DYTK\Discharge_Pressure (Canary.Analog) | Biocide BTC 885 — Day Tank Discharge pressure | bar | 2025-03-10 | Confirm pressure transmitter range and EU = bar
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.PS.Suction_Pressure | CF_BiocideBTC885_DYTK_PS | BiocideBTC885_DYTK_Suction_Pressure | Canary\ChemFlow\BiocideBTC885\DYTK\Suction_Pressure (Canary.Analog) | Biocide BTC 885 — Day Tank Suction pressure | bar | 2025-03-10 | Confirm suction PT range and EU = bar
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.AI.Motor_Current | CF_BiocideBTC885_DYTK_AI | BiocideBTC885_DYTK_Motor_Current | Canary\ChemFlow\BiocideBTC885\DYTK\Motor_Current (Canary.Analog) | Biocide BTC 885 — Day Tank Motor current draw | A | 2025-03-10 | Analog input from VFD — check EU = A
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.SS.Stroke_Speed | CF_BiocideBTC885_DYTK_SS | BiocideBTC885_DYTK_Stroke_Speed | Canary\ChemFlow\BiocideBTC885\DYTK\Stroke_Speed (Canary.Analog) | Biocide BTC 885 — Day Tank Stroke speed | spm | 2025-03-10 | SPM signal from pump controller — check EU = spm
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.DS.Run_Status | CF_BiocideBTC885_DYTK_DS | BiocideBTC885_DYTK_Run_Status | Canary\ChemFlow\BiocideBTC885\DYTK\Run_Status (Canary.Digital) | Biocide BTC 885 — Day Tank Run/stop status |  | 2025-03-10 | Digital tag — confirm ON/OFF state values
Biocide BTC 885 | Day Tank | BiocideBTC885.DYTK.FS.Fault_Status | CF_BiocideBTC885_DYTK_FS | BiocideBTC885_DYTK_Fault_Status | Canary\ChemFlow\BiocideBTC885\DYTK\Fault_Status (Canary.Digital) | Biocide BTC 885 — Day Tank Fault status |  | 2025-03-10 | Digital tag — confirm FAULT/NORMAL state values
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.FT.Flow_Rate | CF_ScaleInhibitorSI750_MPA_FT | ScaleInhibitorSI750_MPA_Flow_Rate | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Flow_Rate (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump A Flow rate | L/min | 2025-03-11 | Verify flow transmitter tag — check EU = L/min
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.PT.Discharge_Pressure | CF_ScaleInhibitorSI750_MPA_PT | ScaleInhibitorSI750_MPA_Discharge_Pressure | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Discharge_Pressure (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump A Discharge pressure | bar | 2025-03-11 | Confirm pressure transmitter range and EU = bar
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.PS.Suction_Pressure | CF_ScaleInhibitorSI750_MPA_PS | ScaleInhibitorSI750_MPA_Suction_Pressure | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Suction_Pressure (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump A Suction pressure | bar | 2025-03-11 | Confirm suction PT range and EU = bar
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.AI.Motor_Current | CF_ScaleInhibitorSI750_MPA_AI | ScaleInhibitorSI750_MPA_Motor_Current | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Motor_Current (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump A Motor current draw | A | 2025-03-11 | Analog input from VFD — check EU = A
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.SS.Stroke_Speed | CF_ScaleInhibitorSI750_MPA_SS | ScaleInhibitorSI750_MPA_Stroke_Speed | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Stroke_Speed (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump A Stroke speed | spm | 2025-03-11 | SPM signal from pump controller — check EU = spm
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.DS.Run_Status | CF_ScaleInhibitorSI750_MPA_DS | ScaleInhibitorSI750_MPA_Run_Status | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Run_Status (Canary.Digital) | Scale Inhibitor SI-750 — Metering Pump A Run/stop status |  | 2025-03-11 | Digital tag — confirm ON/OFF state values
Scale Inhibitor SI-750 | Metering Pump A | ScaleInhibitorSI750.MPA.FS.Fault_Status | CF_ScaleInhibitorSI750_MPA_FS | ScaleInhibitorSI750_MPA_Fault_Status | Canary\ChemFlow\ScaleInhibitorSI750\MPA\Fault_Status (Canary.Digital) | Scale Inhibitor SI-750 — Metering Pump A Fault status |  | 2025-03-11 | Digital tag — confirm FAULT/NORMAL state values
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.FT.Flow_Rate | CF_ScaleInhibitorSI750_MPB_FT | ScaleInhibitorSI750_MPB_Flow_Rate | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Flow_Rate (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump B Flow rate | L/min | 2025-03-12 | Verify flow transmitter tag — check EU = L/min
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.PT.Discharge_Pressure | CF_ScaleInhibitorSI750_MPB_PT | ScaleInhibitorSI750_MPB_Discharge_Pressure | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Discharge_Pressure (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump B Discharge pressure | bar | 2025-03-12 | Confirm pressure transmitter range and EU = bar
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.PS.Suction_Pressure | CF_ScaleInhibitorSI750_MPB_PS | ScaleInhibitorSI750_MPB_Suction_Pressure | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Suction_Pressure (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump B Suction pressure | bar | 2025-03-12 | Confirm suction PT range and EU = bar
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.AI.Motor_Current | CF_ScaleInhibitorSI750_MPB_AI | ScaleInhibitorSI750_MPB_Motor_Current | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Motor_Current (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump B Motor current draw | A | 2025-03-12 | Analog input from VFD — check EU = A
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.SS.Stroke_Speed | CF_ScaleInhibitorSI750_MPB_SS | ScaleInhibitorSI750_MPB_Stroke_Speed | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Stroke_Speed (Canary.Analog) | Scale Inhibitor SI-750 — Metering Pump B Stroke speed | spm | 2025-03-12 | SPM signal from pump controller — check EU = spm
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.DS.Run_Status | CF_ScaleInhibitorSI750_MPB_DS | ScaleInhibitorSI750_MPB_Run_Status | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Run_Status (Canary.Digital) | Scale Inhibitor SI-750 — Metering Pump B Run/stop status |  | 2025-03-12 | Digital tag — confirm ON/OFF state values
Scale Inhibitor SI-750 | Metering Pump B | ScaleInhibitorSI750.MPB.FS.Fault_Status | CF_ScaleInhibitorSI750_MPB_FS | ScaleInhibitorSI750_MPB_Fault_Status | Canary\ChemFlow\ScaleInhibitorSI750\MPB\Fault_Status (Canary.Digital) | Scale Inhibitor SI-750 — Metering Pump B Fault status |  | 2025-03-12 | Digital tag — confirm FAULT/NORMAL state values
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.FT.Flow_Rate | CF_CorrosionInhibitorCI300_PS1_FT | CorrosionInhibitorCI300_PS1_Flow_Rate | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Flow_Rate (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 1 Flow rate | L/min | 2025-03-13 | Verify flow transmitter tag — check EU = L/min
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.PT.Discharge_Pressure | CF_CorrosionInhibitorCI300_PS1_PT | CorrosionInhibitorCI300_PS1_Discharge_Pressure | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Discharge_Pressure (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 1 Discharge pressure | bar | 2025-03-13 | Confirm pressure transmitter range and EU = bar
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.PS.Suction_Pressure | CF_CorrosionInhibitorCI300_PS1_PS | CorrosionInhibitorCI300_PS1_Suction_Pressure | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Suction_Pressure (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 1 Suction pressure | bar | 2025-03-13 | Confirm suction PT range and EU = bar
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.AI.Motor_Current | CF_CorrosionInhibitorCI300_PS1_AI | CorrosionInhibitorCI300_PS1_Motor_Current | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Motor_Current (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 1 Motor current draw | A | 2025-03-13 | Analog input from VFD — check EU = A
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.SS.Stroke_Speed | CF_CorrosionInhibitorCI300_PS1_SS | CorrosionInhibitorCI300_PS1_Stroke_Speed | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Stroke_Speed (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 1 Stroke speed | spm | 2025-03-13 | SPM signal from pump controller — check EU = spm
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.DS.Run_Status | CF_CorrosionInhibitorCI300_PS1_DS | CorrosionInhibitorCI300_PS1_Run_Status | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Run_Status (Canary.Digital) | Corrosion Inhibitor CI-300 — Pump Skid 1 Run/stop status |  | 2025-03-13 | Digital tag — confirm ON/OFF state values
Corrosion Inhibitor CI-300 | Pump Skid 1 | CorrosionInhibitorCI300.PS1.FS.Fault_Status | CF_CorrosionInhibitorCI300_PS1_FS | CorrosionInhibitorCI300_PS1_Fault_Status | Canary\ChemFlow\CorrosionInhibitorCI300\PS1\Fault_Status (Canary.Digital) | Corrosion Inhibitor CI-300 — Pump Skid 1 Fault status |  | 2025-03-13 | Digital tag — confirm FAULT/NORMAL state values
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.FT.Flow_Rate | CF_CorrosionInhibitorCI300_PS2_FT | CorrosionInhibitorCI300_PS2_Flow_Rate | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Flow_Rate (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 2 Flow rate | L/min | 2025-03-14 | Verify flow transmitter tag — check EU = L/min
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.PT.Discharge_Pressure | CF_CorrosionInhibitorCI300_PS2_PT | CorrosionInhibitorCI300_PS2_Discharge_Pressure | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Discharge_Pressure (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 2 Discharge pressure | bar | 2025-03-14 | Confirm pressure transmitter range and EU = bar
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.PS.Suction_Pressure | CF_CorrosionInhibitorCI300_PS2_PS | CorrosionInhibitorCI300_PS2_Suction_Pressure | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Suction_Pressure (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 2 Suction pressure | bar | 2025-03-14 | Confirm suction PT range and EU = bar
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.AI.Motor_Current | CF_CorrosionInhibitorCI300_PS2_AI | CorrosionInhibitorCI300_PS2_Motor_Current | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Motor_Current (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 2 Motor current draw | A | 2025-03-14 | Analog input from VFD — check EU = A
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.SS.Stroke_Speed | CF_CorrosionInhibitorCI300_PS2_SS | CorrosionInhibitorCI300_PS2_Stroke_Speed | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Stroke_Speed (Canary.Analog) | Corrosion Inhibitor CI-300 — Pump Skid 2 Stroke speed | spm | 2025-03-14 | SPM signal from pump controller — check EU = spm
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.DS.Run_Status | CF_CorrosionInhibitorCI300_PS2_DS | CorrosionInhibitorCI300_PS2_Run_Status | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Run_Status (Canary.Digital) | Corrosion Inhibitor CI-300 — Pump Skid 2 Run/stop status |  | 2025-03-14 | Digital tag — confirm ON/OFF state values
Corrosion Inhibitor CI-300 | Pump Skid 2 | CorrosionInhibitorCI300.PS2.FS.Fault_Status | CF_CorrosionInhibitorCI300_PS2_FS | CorrosionInhibitorCI300_PS2_Fault_Status | Canary\ChemFlow\CorrosionInhibitorCI300\PS2\Fault_Status (Canary.Digital) | Corrosion Inhibitor CI-300 — Pump Skid 2 Fault status |  | 2025-03-14 | Digital tag — confirm FAULT/NORMAL state values
Corrosion Inhibitor CI-300 | Blend Tank | CorrosionInhibitorCI300.BLTK.FT.Flow_Rate | CF_CorrosionInhibitorCI300_BLTK_FT | CorrosionInhibitorCI300_BLTK_Flow_Rate | Canary\ChemFlow\CorrosionInhibitorCI300\BLTK\Flow_Rate (Canary.Analog) | Corrosion Inhibitor CI-300 — Blend Tank Flow rate | L/min | 2025-03-15 | Verify flow transmitter tag — check EU = L/min
Corrosion Inhibitor CI-300 | Blend Tank | CorrosionInhibitorCI300.BLTK.PT.Discharge_Pressure | CF_CorrosionInhibitorCI300_BLTK_PT | CorrosionInhibitorCI300_BLTK_Discharge_Pressure | Canary\ChemFlow\CorrosionInhibitorCI300\BLTK\Discharge_Pressure (Canary.Analog) | Corrosion Inhibitor CI-300 — Blend Tank Discharge pressure | bar | 2025-03-15 | Confirm pressure transmitter range and EU = bar